## Hot work permit
Hot work permit
Welding, cutting, grinding, brazing or any open flame or spark outside a designated hot work area. Fill the yellow cells; a No in the checks means no permit.
Permit number |  | Site and exact location
Hot work to be done (welding, cutting, grinding, open flame) |  | Equipment to be used
Valid from (date and time) |  | Expires (date and time)
Person in charge of the work |  | Permit issued by
Condition or check | In place? | Details, result or reason for N/A
Combustibles removed or protected within the fire hazard radius set by the site
Floors, drains, openings and wall penetrations covered or wetted down
Fire extinguisher or hose at the work, checked and in date
Fire watch person assigned, briefed, and staying for the post-work watch period set by the site
Flammable vapours tested where the site requires a gas test (record the reading)
Isolations in place and tagged (fuel, gas, electrical, pipework)
Adjacent areas and people warned; hot work signs up
Ventilation adequate and fumes extracted
PPE: welding helmet or goggles, gloves, flame-resistant clothing
Fire alarm or sprinkler isolation arranged with the site if needed, and reinstatement planned
Fire hazards present and the controls applied
Other hazards and controls (confined space, heights, services, other crews)
Role | Name | Signature | Date and time
Permit issuer
Person in charge of the work
Fire watch
The permit is live only when every role above has signed and every check reads Yes or N/A with a reason.
Close-out
Hot work finished (date and time) |  | Fire watch kept until (date and time)
Area inspected and left safe by |  | Permit closed by (name, date and time)

## Confined space permit
Confined space entry permit
Entry to a space the WHS Regulations define as confined. Fill the yellow cells; nobody enters until every role has signed. Your site's or principal contractor's own permit system takes precedence where it exists.
Permit number |  | Confined space identified (name, location, tag)
Work to be done |  | Entry period from (date and time)
Entry period to (date and time) |  | Entry supervisor
Standby person |  | Permit issued by
Condition or check | In place? | Details, result or reason for N/A
Risk assessment for this entry done and attached
Isolations of all services, contents and moving parts in place and tagged
Space emptied, cleaned, purged or ventilated as required
Atmosphere tested before entry (oxygen, flammables, toxics) and the results recorded below
Continuous or repeat testing arranged for the duration of the entry
Ventilation running where required
Communication method between entrants and the standby person agreed and tested
Standby person at the entry for the whole entry, with no other duties
Rescue arrangements in place and the equipment at the entry (record below)
Entrants and standby person trained for confined space entry, tickets sighted
Signage and barriers at the entry; unauthorised entry prevented
PPE and any respiratory protection identified and worn
Atmosphere test results: time, oxygen %, flammable % LEL, toxic contaminants, tester's name (one line per test)
Hazards of the space and the controls applied
Rescue arrangements (who, equipment, how the alarm is raised, emergency number)
Entrants: name, time in, time out (one line each)
Role | Name | Signature | Date and time
Permit issuer
Entry supervisor
Standby person
The permit is live only when every role above has signed and every check reads Yes or N/A with a reason.
Close-out
All entrants out and accounted for (date and time) |  | Isolations removed and space secured by
Permit closed by (name, date and time) |  | Permit suspended or cancelled? (reason)

## Working at heights permit
Working at heights permit
For work where a person could fall from one level to another, above the height or in the situations your site rules set. Fill the yellow cells; a No in the checks means no permit.
Permit number |  | Site and exact location
Work to be done |  | Height, and the fall risk (edge, roof, void, EWP, scaffold)
Valid from (date and time) |  | Expires (date and time)
Person in charge of the work |  | Permit issued by
Fall control applied (highest practicable)
If the control is not the first on the list, write why the higher ones were not reasonably practicable in the hazards box below.
Condition or check | In place? | Details, result or reason for N/A
Fall control chosen from the hierarchy above and justified
Anchor points identified, rated and inspected
Harness, lanyards and connectors inspected, in date and fitted
EWP, scaffold or ladder inspected and tagged; operator ticket sighted
Exclusion zone set up below the work; dropped-object controls in place
Weather and wind within the limit set by the site (record it)
Rescue plan in place and the equipment at the work; a suspended worker can be reached quickly
Workers trained for working at heights, tickets sighted
Edge protection, covers or guardrails in place where fixed protection is used
Communication with the ground crew agreed
Hazards and controls (edges, fragile surfaces, services, weather, tools and materials)
Rescue plan (who, how, equipment, time to reach a suspended worker)
Role | Name | Signature | Date and time
Permit issuer
Person in charge of the work
Rescue person
The permit is live only when every role above has signed and every check reads Yes or N/A with a reason.
Close-out
Work finished (date and time) |  | Area inspected and left safe by
Permit closed by (name, date and time) |  | Equipment returned and inspected by

## Permit register
Permit register
One row per permit. An open permit past its expiry turns red: close it, extend it on a new permit, or find out why it is still open.
Permit no. | Type | Location | Issued to | Issued by | Start | Expiry | Closed | Notes

## How to use
How to use the permit to work templates
WHAT THIS IS
Three permit forms (hot work, confined space entry, working at heights) and a register. A permit is a written authorisation for one high-risk task, for a set period, listing the conditions that must be in place before it starts and the sign-off that closes it.
HOW TO USE IT:
1. One permit per task per period. A permit does not roll over a shift change; the incoming crew gets a new one or a signed handover on the site's own system.
2. Work down the checks. Every line reads Yes, or N/A with the reason written beside it. A No turns red and the permit is not issued until it is cleared.
3. Record what the task needs: atmosphere test results for a confined space, the fire watch period for hot work, the rescue plan for heights. The boxes are prompts; the content is the site's.
4. Every role signs before the work starts. The standby person on a confined space entry has no other job for the whole entry.
5. Close it out: the finish time, the area left safe, and for hot work the time the fire watch ended. Log it in the register; an open permit past expiry turns red.
WHAT IT DOES NOT DO:
It does not know your site, your plant or your atmosphere. It does not replace a confined space entry permit issued under your site's or principal contractor's own system, and it is not safety advice.
Confined space entry, atmosphere testing and rescue are regulated and need trained people; the WHS regulator where the work happens is the authority on what the duty requires.
The companion article: https://humanz.net.au/blog/permit-to-work
A BETTER WAY TO RUN THIS:
This spreadsheet is the fallback, not the way we would run it. Humanz is a workforce management app for Australian field crews, and in the app a permit is a digital form with an approval step: the issuer signs off on a phone, the permit sits against the job, and the register is a report rather than a sheet. We publish this template anyway, free and with no sign-up, because a good sheet beats a blank page and not every crew is ready for software. If yours is, see https://humanz.net.au/solutions/workforce-management-software
Free from Humanz, https://humanz.net.au. No sign-up, no watermark, use it as you like.